## Slide 1: Mechanical Ventilation MODES and features
Faisal Muchtar

## Slide 2: BASIC MODES
FaisalMuchtar

## Slide 3: BREATH SEQUENCE (MODE)
Continuous mandatory
    All breaths are machine delivered breaths.
    Can be controlled or assisted breath type.
Continuous spontaneous ventilation
All breaths are spontaneous breaths.
Mixed mode
Combination of mandatory breaths and patient’s own spontaneous breaths.
FaisalMuchtar

## Slide 4: Continuous mandatory breath sequence
Modes that are classify :
Continuous Mandatory Ventilation (CMV)
Assist Control Ventilation (A/C)

## Slide 5: Continuous Mandatory Ventilation (CMV)
The control mode of ventilation delivers only controlled breaths to the patient
Fully supports patients in respiratory failure.
Can be either pressure or volume controlled breath type.
Indications
Patient who are severely distress and fighting to breathe.
Complete rest for patient for a period of 24 hours.
In surgery for paralyzed patients.
Complication
After a period of time, due to the sedation required for the controlled mode, patient will be totally dependent on the ventilator.

## Slide 6: Assist Control Ventilation (A/C)
The assist/control mode of ventilation allows the patient to initiate a breath, which are the assisted breath.
In the absence of a patient initiated effort, the set controlled breath will still be delivered .
The total respiratory rate is established by the controlled and assisted breaths.
Can be either pressure or volume controlled breath type.
Indications
Provides full ventilatory support and typically used for patients who have stable respiratory drive and can therefore trigger the ventilator into inspiration.
Complication
    Alveolar hyperventilation
    Hypocapnia

## Slide 7: Continuous mandatory breath sequence
Continuous Mandatory Ventilation
Assist/Control
Time triggered breath

## Slide 8: Continuous spontaneous ventilation
Modes that are classify :
  Continuous Positive Airway Pressure (CPAP)
  Pressure Support Ventilation

## Slide 9: Continuous Positive Airway Pressure (CPAP)
In this mode, the airway is kept constant throughout the respiratory cycle by providing PEEP for spontaneously breathing patients.
The respiratory rate, tidal volume and inspiratory time is determined by patient.
Indication : Commonly used for patient who are ready for weaning
Advantages
Improved oxygenation through increasing functional residual capacity
Reduces work of breathing
Complication
May cause increased work of breathing if patient is not fit for weaning.

## Slide 10: Pressure Support Ventilation
Pressure support augments a patient's spontaneous effort with a preset amount of positive airway pressure (PEEP).
Pressure Supported spontaneous breaths are initiated the same as regular spontaneous breaths,, meaning, based on the patient's inspiratory effort.
Indication
Common weaning technique for patient
Advantage
The patient may not have to work as hard to maintain the spontaneous breath.

## Slide 11
CPAP without PS
CPAP with PS

## Slide 12: Relation Pressure support and tidal volume
By increasing Pressure Support, tidal volume increases
By decreasing Pressure Support, weaning can be progressed

## Slide 13: MIXED MODE
Modes that are classify under mixed mode:
Synchronized Intermittent Mandatory Ventilation (SIMV)

## Slide 14: Synchronized Intermittent Mandatory Ventilation (SIMV)
This mode can be either volume or pressure controlled.
The clinician sets a rate of mandatory breaths and it is possible for the patient to breathe spontaneously (can be PS) in this mode.
Spontaneous breaths are allowed intermittently during ‘synchronous periods’.
If a spontaneous breath is taken during a non synchronous period, then the ventilator will either simply take over and deliver the mechanical breath as set by the clinician
As the patient improves, the rate of mechanical breaths is reduced to allow for more spontaneous breathing until a spontaneous mode is suitable

## Slide 16: SIMV
Contral
Control
Assist
Assist
Spont
Spont
Spont
With Spontaneous breath
No Spontaneous breath
Trigger
window
Trigger
window
Trigger
window
Trigger
window
Cycle
Cycle
Cycle
Cycle

## Slide 17
SIMV(VC)
Spontaneous Breaths
Flow
L/m
Pressure
cm H2O
Volume
mL

## Slide 18
Pressure
Flow
(L/min)
(cm H2O)
(Volume
ml)
Set PC level
Time (sec)
SIMV Mode (PV)
Spontaneous Breath

## Slide 19
PS
VS
TC
• A/C
Mandatory Breaths Alone
Mixed Breaths
Spontaneous Breaths Alone
Mode
Mixed Mode
SIMV
BiLEVEL
APRV
MMV
ASV
Etc
Breath Type
VC
PC
VC+
Mode
Breath Type
SPONT
{
}
{
{
Classification ventilation modes

## Slide 20: Take home message
Clear understanding of basic modes of ventilation is required for safe application of mechanical ventilation

## Slide 21: THANK YOU

## Slide 22: YOUR TITLE GOES HERE
SUBTITLE GOES HERE
Notes: © Copyright Showeet.com – Free PowerPoint Templates

## Slide 23: DIVIDER SLIDE TITLE
SUBTITLE GOES HERE
Notes: © Copyright Showeet.com – Free PowerPoint Templates

## Slide 24: Title GOES HERE
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Ut gravida eros erat. Proin a tellus sed risus lobortis sagittis eu quis est. Duis ut aliquam nisi. Suspendisse vehicula mi diam, sit amet lacinia massa sodales ac. Fusce condimentum egestas nunc a maximus.
Quisque et orci purus. Proin dolor mi, ultrices sit amet ipsum placerat, congue mattis turpis. Donec vestibulum eros eget mauris dignissim, ut ultricies dolor viverra. Phasellus efficitur ante nec sem convallis, in ornare est accumsan.
Notes: © Copyright Showeet.com – Free PowerPoint Templates

## Slide 25: Another title GOES HERE
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Ut gravida eros erat. Proin a tellus sed risus lobortis sagittis eu quis est. Duis ut aliquam nisi. Suspendisse vehicula mi diam, sit amet lacinia massa sodales ac. Fusce condimentum egestas nunc a maximus.
Quisque et orci purus. Proin dolor mi, ultrices sit amet ipsum placerat, congue mattis turpis. Donec vestibulum eros eget mauris dignissim, ut ultricies dolor viverra. Phasellus efficitur ante nec sem convallis, in ornare est accumsan.
Notes: © Copyright Showeet.com – Free PowerPoint Templates

## Slide 26: YET ANOTHER TITLE GOES HERE
COMPARISON POINT 1
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Ut gravida eros erat. Proin a tellus sed risus lobortis sagittis eu quis est. Duis ut aliquam nisi. Suspendisse vehicula mi diam, sit amet lacinia massa sodales ac. Fusce condimentum egestas nunc a maximus.Quisque et orci purus. Proin dolor mi, ultrices sit amet ipsum placerat, congue mattis turpis. Donec vestibulum eros eget mauris dignissim, ut ultricies dolor viverra. Phasellus efficitur ante nec sem convallis, in ornare est accumsan.
COMPARISON POINT 2
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Ut gravida eros erat. Proin a tellus sed risus lobortis sagittis eu quis est. Duis ut aliquam nisi. Suspendisse vehicula mi diam, sit amet lacinia massa sodales ac. Fusce condimentum egestas nunc a maximus.Quisque et orci purus. Proin dolor mi, ultrices sit amet ipsum placerat, congue mattis turpis. Donec vestibulum eros eget mauris dignissim, ut ultricies dolor viverra. Phasellus efficitur ante nec sem convallis, in ornare est accumsan.

## Slide 27: Title here
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Ut gravida eros erat. Proin a tellus sed risus lobortis sagittis eu quis est. Duis ut aliquam nisi. Suspendisse vehicula mi diam, sit amet lacinia massa sodales ac. Fusce condimentum egestas nunc a maximus.
Quisque et orci purus. Proin dolor mi, ultrices sit amet ipsum placerat, congue mattis turpis. Donec vestibulum eros eget mauris dignissim, ut ultricies dolor viverra. Phasellus efficitur ante nec sem convallis, in ornare est accumsan.
Chart: CHART TITLE
| Jan | Feb | Mar | Apr | May
Row | 10000 | 17000 | 15000 | 25000 | 21000

## Slide 28: TABLE TITLE GOES HERE
YOUR HEADING | YOUR HEADING | YOUR HEADING | YOUR HEADING
Place content here | Place content here | Place content here | Place content here
Place content here | Place content here | Place content here | Place content here
Place content here | Place content here | Place content here | Place content here
Place content here | Place content here | Place content here | Place content here
Place content here | Place content here | Place content here | Place content here
Place content here | Place content here | Place content here | Place content here
Place content here | Place content here | Place content here | Place content here
Place content here | Place content here | Place content here | Place content here

## Slide 29: Large Image slide
Notes: © Copyright Showeet.com – Free PowerPoint Templates

## Slide 30: THANK YOU
WWW. ALPINESKIHOUSE.COM
VICTORIA LINDQVIST
+1 (589) 555‐0199
victoria@alpineskihouse.com

## Slide 31: Customize this Template
Template Editing Instructions and Feedback